REB FORM NO.-455 (SUBSTATION PERIODIC INSPECTION AND MAINTENANCE FORM)

PBS :			  		SUBSTATION:  				   Capacity:-

Date of Commission:-                , Date of Augmentation:                 , Date of maintenance:

PUT TICK (√) MARK BY ITEM INSPECTED OR MAINTAINED

I.	POWER TRANSFORMER

| ITEMS CHECKED↓ REMARKS→ |  | 3Φ Bank-1 | 3Φ Bank-2 |
| --- | --- | --- | --- |
| A. Manufacturer |  |  |  |
| B. Sl.No |  |  |  |
| C. Bushing chipped/broken/cracked |  |  |  |
| D. Record level oil |  |  |  |
| E. Temperature gauge (winding) | Present oC |  |  |
|  | Max oC |  |  |
| F. Temperature gauge (Oil) | Present oC |  |  |
|  | Max oC |  |  |
| G. Record gas pressure (kg/cm2 /lbs/in2) |  |  |  |
| H. Pressure release device operation |  |  |  |
| I. Auxiliary fan operation |  |  |  |
| J. General conditions of foundation |  |  |  |
| K. Radiator, valve, plug etc. |  |  |  |
| L. Conservator’s tank, regulator, breather etc. |  |  |  |
| M. Dielectric strength of oil (kv) |  |  |  |
| N. Connection loose or corroded |  |  |  |
| O. 240 Volt power supply & wiring |  |  |  |
| P. % impedance |  |  |  |
| Q. Tap changer position |  |  |  |
| R. Vector group |  |  |  |

S. Megger results (GΩ):-

| Bank1 |  |  |  |  |  | Bank2 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| H1→X1 |  | H1→X2 |  | H1→X3 |  | H1→X1 |  | H1→X2 |  | H1→X3 |  |
| H2→X1 |  | H2→X2 |  | H2→X3 |  | H2→X1 |  | H2→X2 |  | H2→X3 |  |
| H3→X1 |  | H3→X2 |  | H3→X3 |  | H3→X1 |  | H3→X2 |  | H3→X3 |  |
| H1→G |  | H2→G |  | H3→G |  | H1→G |  | H2→G |  | H3→G |  |
| X1→G |  | X2→G |  | X3→G |  | X1→G |  | X2→G |  | X3→G |  |
| H1→H2 |  | H2→H3 |  | H3→H1 |  | H1→H2 |  | H2→H3 |  | H3→H1 |  |
| X1→X2 |  | X2→X3 |  | X3→X1 |  | X1→X2 |  | X2→X3 |  | X3→X1 |  |

T. Φ Identification:-

| HT-Connection | Bank-1 | Bank-2 | LT-Connection | Bank-1 | Bank-2 |
| --- | --- | --- | --- | --- | --- |
|  | Bushing Connected | Bushing Connected |  | Bushing Connected | Bushing Connected |
| Red Phase | H1 | H1 | Red Phase | x1 | x1 |
| Yellow Phase | H2 | H2 | Yellow Phase | x2 | x2 |
| Blue Phase | H3 | H3 | Blue Phase | x3 | x3 |

Note:

AGM(O&M)	             Assistant Engineer 	    DGM(TECHNICAL)         Executive Engineer

- VOLTAGE REGULATOR

| ITEMS CHECKED↓ REMARKS→ | B-phase | Y-phase | R-phase |
| --- | --- | --- | --- |
| A Manufacturer |  |  |  |
| B. Sl.No. |  |  |  |
| C. Control type |  |  |  |
| D. Rating(KVA, Ampere) |  |  |  |
| E. Bushing contamination |  |  |  |
| F. Bushing chipped, broken or cracked |  |  |  |
| G. Record level of oil |  |  |  |
| H. Connection loose or corroded |  |  |  |
| I. Oil tank damaged or leaking |  |  |  |
| J Dielectric strength of oil(Kv) |  |  |  |
| K. Operation Counter reading |  |  |  |
| L. Megger result RΦ,(G Ω):-S→L→SL = , S→G = , L→G = , SL → G = |  |  |  |
| M Megger result YΦ,(G Ω):-S→L→SL = , S→G = , L→G = , SL → G = |  |  |  |
| N Megger result BΦ,(G Ω):-S→L→SL = , S→G = , L→G = , SL → G = |  |  |  |
| O. Control panel settings:-Voltage level = Volts, Bandwidth = Volts, Time delay = Sec |  |  |  |

Note: `R’,’Y’ ph-V/R oil is added.

III.	AUTOMATIC CIRCUIT RECLOSER

| Items Checked↓ Remarks→ | 33 Kv Source | 11 Kv Feeders |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 |
| A.Manufacturer |  |  |  |  |  |  |  |
| B. Control type |  |  |  |  |  |  |  |
| C. Sl.No. |  |  |  |  |  |  |  |
| D. Rating (Amps) |  |  |  |  |  |  |  |
| E. Curve setting phase |  |  |  |  |  |  |  |
| F. Curve setting ground |  |  |  |  |  |  |  |
| G. Bushings |  |  |  |  |  |  |  |
| H. Tank/body |  |  |  |  |  |  |  |
| I. Operation Counter |  |  |  |  |  |  |  |
| J. Op. Counter reading |  |  |  |  |  |  |  |
| K. Mis-operation detect |  |  |  |  |  |  |  |
| L. Moisture indication |  |  |  |  |  |  |  |
| M. Misalignment/arcing |  |  |  |  |  |  |  |
| N. Oil level indicator |  |  |  |  |  |  |  |
| O. SF6 pressure (kPag) |  |  |  |  |  |  |  |
| P. Oil strength (Kv) |  |  |  |  |  |  |  |
| Q. Oil valve/plug/gasket |  |  |  |  |  |  |  |
| R. Frame/structure |  |  |  |  |  |  |  |
| S. Servicing |  |  |  |  |  |  |  |
| T. Oil changed |  |  |  |  |  |  |  |
| U. SF6 gas added |  |  |  |  |  |  |  |
| V. Control’s function |  |  |  |  |  |  |  |

Note :-

AGM(O&M)	             Assistant Engineer 	    DGM(TECHNICAL)         Executive Engineer

# IV .	AUXILIARY EQUIPMENT:-

A.	METER CABINET & CONTROL PANELS

| Items Checked↓ Remarks→ | Remark | ITEMS | Remark |
| --- | --- | --- | --- |
| A. Wiring/Lighting/terminal blocks/switches |  | B. Tightness of cover& gaskets |  |
| C. Meters type:- Manufacture- Sl.No- |  |  |  |

- CURRENT & POTENTIAL TRANSFORMERS

| Items Checked↓ Remarks→ | Current Transformer |  | Potential Transformer |  |
| --- | --- | --- | --- | --- |
| A. Manufacturer |  |  |  |  |
| B. Sl. No. |  |  |  |  |
| C. Ratio (Put √ for ratio used) |  |  |  |  |
| D. Bushing contaminated |  |  |  |  |
| E. Bushing broken or cracked |  |  |  |  |
| F. Connections loose corroded |  |  |  |  |
| G Tank/body damaged or leak |  |  |  |  |
| H. Oil level /strength (Kv) |  |  |  |  |
| I. Megger result(MΩ):- |  |  |  |  |

V.	SURGE ARRESTERS (for power transformers)

| Items Checked↓ Remarks→ | Red phase |  | Yellow phase |  | Blue phase |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 33 Kv | 11 Kv | 33 Kv | 11Kv | 33 Kv | 11 Kv |
| A. Manufacturer |  |  |  |  |  |  |
| B. Sl. No. |  |  |  |  |  |  |
| C. Rating (Kv) |  |  |  |  |  |  |
| D. Megger result (GΩ) |  |  |  |  |  |  |
| E. Porcelain broken/ cracked |  |  |  |  |  |  |

VI	ISOLATION SWITCHES  (199 & 166)

| Items Check↓ Rem→ | 199 | 166 | Items Checked↓ Remarks→ | 199 | 166 |
| --- | --- | --- | --- | --- | --- |
| A. Liver/Handle |  |  | E. Connection loose or corroded |  |  |
| B. Blade, contacts |  |  | F. Insulator contaminated, chipped. |  |  |
| C. Smooth operation |  |  | G. Base mounting, linkage& bearing |  |  |
| D. Ground connection |  |  | H. Remarks |  |  |

VII	ISOLATION SWITCHES  (299 & 266)

| Items Check↓ Rem→ | 299 | 266 | Items Checked↓ Remarks→ | 299 | 266 |
| --- | --- | --- | --- | --- | --- |
| A. Liver/Handle |  |  | E. Connection loose or corroded |  |  |
| B. Blade, contacts |  |  | F. Insulator contaminated, chipped. |  |  |
| C. Smooth operation |  |  | G. Base mounting, linkage& bearing |  |  |
| D. Ground connection |  |  | H. Remarks |  |  |

AGM(O&M)	             Assistant Engineer 	    DGM(TECHNICAL)         Executive Engineer

VIII	33 KV FUSES

| Items Ch↓Rem→ | R-Φ | Y-Φ | B-Φ | Items Check↓Rem→ | RΦ | YΦ | BΦ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A. Manufacturer |  |  |  | E . Base & Mounting |  |  |  |
| B. Rating (Amps) |  |  |  | F. Smooth Operation |  |  |  |
| C. Fuse link/barrel |  |  |  | G. Alignment |  |  |  |
| D. Contacts |  |  |  | H. Connection |  |  |  |

IX	INSULATORS

| Items Checked↓Rem→ |  | Items Checked↓ Rem→ |  | Items Checked↓Rem→ |  |
| --- | --- | --- | --- | --- | --- |
| A.Porcelain broken /crack |  | B.Metal parts/base/ mounting |  | C. Washing & cleaning |  |

X.	PROTECTIVE LIGHTING(2 Nos.working)

| Items Ch. | Remark | Items Checked | Remark | Items Checked | Remark |
| --- | --- | --- | --- | --- | --- |
| Glassware |  | Photo electric cell assembly |  | Conduit/fittings/fixtures |  |

XI.	STRUCTURES (√ STEEL /WOODEN / SPC& STEEL/SPC & WODDEN )

| ITEMS (Steel Structure) | Remarks | ITEMS (Wooden pole) | Remarks |
| --- | --- | --- | --- |
| A. Painting performed |  | A. Condition of poles |  |
| B. Rust removed |  | B. Condition of Cross arm |  |
| C. Loose broken & missing |  | C. Condition of guy/anchor |  |

XII.	PAD & FOUNDATION

| ITEMS | Remarks | ITEMS | Remarks |
| --- | --- | --- | --- |
| A. Steel Structure foundation |  | B. X-former pad |  |
| C. V.R pad |  | D. OCR/ACR pad |  |

XIII.	SUBSTATION YARD

| ITEMS | Remark | ITEMS | Remark |
| --- | --- | --- | --- |
| A. Fence/painting/intactness |  | B. Leveling /Slope/road |  |
| C. Gate & its operation |  | D. Locks & keys |  |
| E. Weed/flooding |  | F. Warning signs |  |

Note: Mechanical Damage at southern  side of sub-station fencing, to be repaired.

XIV.	GROUNDING SYSTEM

| ITEMS | Remarks | ITEMS | Remarks |
| --- | --- | --- | --- |
| A. Connections loose or corroded |  | B. Grounding resistance measurement |  |

XV.	TOOLS AND EQUIPMENT

| ITEMS | Remarks | ITEMS | Remarks |
| --- | --- | --- | --- |
| A. Quantity & condition checked |  | B. Storage area cleaned |  |

XVI.	SPARE PARTS

| ITEMS | Remarks | ITEMS | Remarks |
| --- | --- | --- | --- |
| A. Verify quantities |  | B. Stored condition |  |

XVII.     REMARKS /  RECOMMENDATION   :- (Extra sheet to be used if necessary)

AGM(O&M)	             Assistant Engineer 	    DGM(TECHNICAL)         Executive Engineer

REMARKS AND RECOMMENDATIONS:-

.

AGM(O&M)	             Assistant Engineer 	    DGM(TECHNICAL)         Executive Engineer